VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Content

4.2.1 — Introduction

4.2.3 — Breakdown of the lump-sum price

VOLUME 4.2.1 — INTRODUCTION

1. 	General

1.1	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated: by the tranches specified in Article 49(1) of the special conditions.

2.1	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

2.2	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

2.3	The lump–sum price and the prices of the breakdown of the lump-sum price and of the daywork schedule are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| BILL OF QUANTITIES FOR CONSTRUCTION AND CONSTRUCTION CRAFTWORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PHASE 1: BASIC PROJECT FOR ARRANGEMENT OF A PARK WITH GREEN INFRASTRUCTURE - SETTLEMENT OF KARPOSH, MUNICIPALITY OF STRUMICA (Horticultural and Parterre Landscaping phase) |  |  |  |  |  |
| Item | Description | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| (a) | (b) | (c) | (d) | (e) | (f=d*e) |
| I | PREPARATION WORKS |  |  |  |  |
| 1.1 | Clearing a site of low stem forest, bushes and plants | m2 |  | 12717,00 |  |
| 1.2 | Processing the plot by plowing parts intended for green surfaces | m2 |  | 10234,00 |  |
| 1.3 | Loading and driving of rubble to a permanent landfill | m3 |  | 200,00 |  |
|  | TOTAL I |  |  |  |  |
| II | GROUND WORKS |  |  |  |  |
| 2.1 | Excavation of ground in a layer up to 30cm for alignment of the site and placement of pathways and sitting area with disposal on site | m3 |  | 731,00 |  |
| 2.2 | Supply of materials, transport and installation of a natural crushed bumper under the walkways and the seating area in a 30cm layer | m3 |  | 731,00 |  |
| 2.3 | Supply of materials, transport and incorporation of humus in a 10cm layer for leveling the space for drainage and infiltration of stormwaters in the grass surfaces | m3 |  | 1024,00 |  |
| 2.4 | Supply of materials and planting of grass on intended green surfaces | m2 |  | 10234,00 |  |
| 2.5 | Planning and distribution of excavated ground on intended green areas | m3 |  | 705,00 |  |
|  | TOTAL II |  |  |  |  |
| III | PARTERRE WORKS |  |  |  |  |
| 3.1 | Supply of materials, transport and installation of panels with dimensions 30 x 30 cm of travertine with a thickness of d=3cm for walkways (on previously tamped base) with the necessary base of sand | m2 |  | 2872,00 |  |
| 3.2 | Supply of materials, transport and installation of panels with dimensions 20 x 20cm of travertine with a thickness d=3cm for the sitting area (on a previously tamped substrate) with the necessary substrate of sand | m2 |  | 322,00 |  |
| 3.3 | Supply, transport and installation of concrete curb with dimensions 8/15/1000cm. on a base of concrete MB20 | m’ |  | 1387,00 |  |
|  | TOTAL III |  |  |  |  |
| IV | HORTICULTURAL LANDSCAPING |  |  |  |  |
| 4.1 | Supply and planting of tree material according to the given technical specification |  |  |  |  |
|  | Acer Rubrum (2.5/3.0m - 14/16) | pcs |  | 15,00 |  |
|  | Acer Palmatum Atropurpureum (1.5m - 2m) | pcs |  | 5,00 |  |
|  | Betula Alba Pendula (2.5m - 3m) | pcs |  | 15,00 |  |
|  | Buxus Microphylla Fulkner CTL 50/Ball (30-40) | pcs |  | 60,00 |  |
|  | Castanea Sativa (2.5m - 3m) | pcs |  | 10,00 |  |
|  | Catalpa Bignoides NANA CTL 55 (14/16) | pcs |  | 10,00 |  |
|  | Cedrus Atlantica Glauca Pendula CTL150l 3.5m (20/25) | pcs |  | 3,00 |  |
|  | Chamaecyparis lawsoniana ellwoodii CTL15 (100cm) | pcs |  | 5,00 |  |
|  | Forsythia Intermedia (08/1.0) | pcs |  | 7,00 |  |
|  | Ginko Biloba Mariken CTL 90 (2.5m 3xtr/M 20/25) | pcs |  | 2,00 |  |
|  | Juniperus Horizontalis mix CTL 5l (50cm) | pcs |  | 30,00 |  |
|  | Lagerstoemia Indica CT 190 (1.0/1.5m) | pcs |  | 15,00 |  |
|  | Lavandula Spp Ctl5l (0.3m) | pcs |  | 20,00 |  |
|  | Liqidamber styraciflua Ctl 90 (2.5/2.8m - 10/14) | pcs |  | 3,00 |  |
|  | Magnolia Grandifloara on stem STD Ctl 90 (18/20) | pcs |  | 17,00 |  |
|  | Magnolia Soulangena Ctl 90 (1.0/1.5m) | pcs |  | 7,00 |  |
|  | Morus Alba Pendula Ctl 90 (12/14) | pcs |  | 15,00 |  |
|  | Photinia Fraseri Little Red Robin Ctl15 (0.6/0.8m) | pcs |  | 21,00 |  |
|  | Picea Abies Exelsa Ctl55 (2.2/2.5m) | pcs |  | 6,00 |  |
|  | Picea Glauka Conica Ctl 125 (2.0/2.25m) | pcs |  | 6,00 |  |
|  | Picea Pungens Glauca Globosa Ctl 55 (2.5/3.0m) | pcs |  | 6,00 |  |
|  | Pin Mugo Mughos Ctl70 (0.8/1.0m) | pcs |  | 7,00 |  |
|  | Pinus Pinea Ctl 110 (2.0/2.5m) | pcs |  | 5,00 |  |
|  | Platanus Orientalis Ctl 120 (18/20) | pcs |  | 24,00 |  |
|  | Prunus Pissardi Nigra Ctl 90 (2.5-3.0m) | pcs |  | 11,00 |  |
|  | Prunus Laurocerasus Ctl 25 (1.5-1.75m) | pcs |  | 10,00 |  |
|  | Prunus Serrulata Rojal Burgundi Ctl 90 (2.5/3.0m - 18/20) | pcs |  | 30,00 |  |
|  | Siringa Vulgaris CTL50 (1.0/1.5m) | pcs |  | 30,00 |  |
|  | Quercus Macedonica Ctl 120 (3.5-4.0m) | pcs |  | 5,00 |  |
|  | Taxus Baccata Fastigijata Ctl 35 (1.0-1.45m) | pcs |  | 5,00 |  |
|  | Thuja Occcidentalis Smaragd (150m) | pcs |  | 20,00 |  |
|  | Thuja orientalis Area-nana (1.0-1.2m) | pcs |  | 7,00 |  |
|  | Vibrnum Thinus Gvelien Ctl15l (0.8-1.0m) | pcs |  | 14,00 |  |
|  | Weigela Bushes (0.8-1.0m) | pcs |  | 14,00 |  |
|  | TOTAL IV |  |  |  |  |
| V | URBAN EQUIPMENT |  |  |  |  |
| 5.1 | Supply of materials, transport and execution of subconstruction of natural stone walls for amphitheatrical seating | m3 |  | 58,00 |  |
| 5.2 | Supply, transport and laying of 15cm wide bamboo planks (decking) placed on a wooden substructure with dimensions 6 x 4cm for amphitheatrical seating | m2 |  | 53,00 |  |
| 5.3 | Supply, transport and installation of benches processed from wooden elements in combination with iron profiles and iron pipes | pcs |  | 21,00 |  |
| 5.4 | Supply, transport and installation of waste bins made from wooden elements in combination with iron profiles and iron pipes | pcs |  | 21,00 |  |
| 5.5 | Supply, of materials and construction of a central decorative garden box (planter box) built of natural stone | m3 |  | 12,00 |  |
| 5.6 | Supply of material and construction of an information board made of natural wood with size 2m x 1m | pcs |  | 1,00 |  |
|  | TOTAL V |  |  |  |  |

| A | PHASE: HORTICULTURAL AND PARTERRE LANDSCAPING |  |  |
| --- | --- | --- | --- |
| I | PREPARATION WORKS |  |  |
| II | GROUND WORKS |  |  |
| III | PARTERRE WORKS |  |  |
| IV | HORTICULTURAL LANDSCAPING |  |  |
| V | URBAN EQUIPMENT |  |  |
| TOTAL: |  |  |  |
| 18% VAT: |  |  |  |
| OVERALL IN EUR: |  |  |  |

| BILL OF QUANTITIES FOR CONSTRUCTION AND CONSTRUCTION CRAFTWORKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PHASE 2: BASIC PROJECT FOR ARRANGEMENT OF A PARK WITH GREEN INFRASTRUCTURE - SETTLEMENT OF KARPOSH, MUNICIPALITY OF STRUMICA (Phase Lighting of a park) |  |  |  |  |  |
| To supply material, deliver on site, perform in accordance with the technical description, drawings and positive technical regulations that apply to this type of installations, with all mechanical works and electrical connections with all auxiliary material, complete and ready for operation, the following positions are paid |  |  |  |  |  |
| Item | Description | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| (a) | (b) | (c) | (d) | (e) | (f=d*e) |
| I | GROUND WORKS |  |  |  |  |
| 1.1 | Excavation of ground in layer of 3rd and 4th floor. in a trench with dimensions 30x80 cm | m |  | 700,00 |  |
| 1.2 | Filling of a trench with dimensions 30x80 cm | m |  | 700,00 |  |
| 1.3 | Excavation of ground in layer of 3rd and 4th floor for concrete foundations for metal columns (according to sketch) | m3 |  | 10,00 |  |
| 1.4 | Supply, transport and placement of fine sand (d=10 cm) | m3 |  | 20,00 |  |
| 1.5 | Removal of excess land at a distance of 10 km | m3 |  | 20,00 |  |
|  | TOTAL I |  |  |  |  |
| II | CONCRETE WORKS |  |  |  |  |
| 2.1 | Supply, transport and placing of ready-made concrete mb-30 for operation (800x800x900 mm) | m3 |  | 10,00 |  |
|  | TOTAL II |  |  |  |  |
| III | ELECTRICAL INSTALLATION WORKS |  |  |  |  |
| 3.1 | Supply, delivery, installation and connection of led lamp with power 30w, 2800lm, ik08, ip65. the lamp is placed on a metal pole with h=3.5m | pcs |  | 34,00 |  |
| 3.2 | Supply, delivery, installation and connection of led spotlight with power 100w, 8000lm, ik08, ip65. the lamp is placed on a metal pole with h=6m | pcs |  | 2,00 |  |
| 3.3 | Supply, delivery and installation of a metal pole h=3.5m painted with basic and varnish color, with junction box and electrical installation with pp 3x1.5mm2 | pcs |  | 34,00 |  |
| 3.4 | Supply, delivery and installation of a metal pole h=6m painted with primary and varnish color, with junction box and electrical installation with pp 3x1.5mm2 | pcs |  | 2,00 |  |
| 3.5 | Supply, delivery and installation of anchor with 4xm16 for metal column x=xx m | pcs |  | 36,00 |  |
| 3.6 | Supply, delivery and laying of power cable PP00 5x2.5mm2 with connection of the cable end in the junction box from the pole | m |  | 850,00 |  |
| 3.7 | Supply, delivery and laying of galvanized tape fe-zn {25x4}mm with connection to the metal post | m |  | 200,00 |  |
| 3.8 | Supply and installation of universal coupler for galvanized strip {60x60}mm | pcs |  | 20,00 |  |
| 3.9 | Supply, design and delivery of a distribution cabinet {1000x1200x350]mm with the necessary equipment (according to the sketch) | pcs |  | 1,00 |  |
| 3.10 | Warning pvc tape | m |  | 750,00 |  |
| 3.11 | Plastic shielders | m |  | 750,00 |  |
|  | TOTAL III |  |  |  |  |
| IV | TESTING CERTIFICATES |  |  |  |  |
| 4.1 | Testing of protective grounding of metal columns | pcs |  | 36,00 |  |
| 4.2 | Testing of the electrical installation according to mks en 60364-6/2010) | pcs |  | 1,00 |  |
|  | TOTAL IV |  |  |  |  |
| V | PHOTOVOLTAGE SECTION |  |  |  |  |
| 5.1 | Inverter 2 kw | pcs |  | 1,00 |  |
| 5.2 | Panel 550 w | pcs |  | 4,00 |  |
| 5.3 | Battery 20 kwh (100 ah) | pcs |  | 1,00 |  |
|  | TOTAL V |  |  |  |  |

| B | PHASE: LIGHTING OF A PARK |  |  |
| --- | --- | --- | --- |
| I | GROUND WORKS |  |  |
| II | CONCRETE WORKS |  |  |
| III | ELECTRICAL INSTALLATION WORKS |  |  |
| IV | TESTING CERTIFICATES |  |  |
| V | PHOTOVOLTAGE SECTION |  |  |
| TOTAL: |  |  |  |
| 18% VAT: |  |  |  |
| OVERALL IN EUR: |  |  |  |

|  | RECAPITULATION |  |  |
| --- | --- | --- | --- |
| A | PHASE: HORTICULTURAL AND PARTERRE LANDSCAPING |  |  |
| B | PHASE: LIGHTING OF A PARK |  |  |
| TOTAL: |  |  |  |
| 18% VAT: |  |  |  |
| OVERALL IN EUR: |  |  |  |