VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.2 — SUMMARY

| Description | Amount EUR |
| --- | --- |
| Total of lump-sum price without VAT for Location 1, 2, 3, 4 and 5 |  |
| VAT amount |  |
| TOTAL PRICE included VAT |  |

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

|  | Location 1 Horticultural arrangement - green walls in the parking lot at Marshall Tito Square, Kumanovo Design no. 03-434/23 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | DESCRIPTION OF ACTIVITIES | unite | Unit price | Firm quantities | Lump-sum price EUR without VAT |
| A) | Green hill - construction site: |  |  |  |  |
|  | 1. PREPARATORY WORK |  |  |  |  |
| 1. | Cleaning the site from low and high vegetation, rubble and other(90m h0,8m) | m2 |  | 72 |  |
| B) | 2. Earthly things |  |  |  |  |
| 2. | Marking and staking of the object | m2 |  | 72 |  |
| 3. | Wide Excavation of soil for seedlings and foundations for metal construction(90m x 08 x 0,35sm) | m3 |  | 25,2 |  |
| 4. | Filling and compaction of buffer material d=10sm, substrate for foundations for metal columns psc.45 (0,4x0,4x0,10m) | m3 |  | 0,72 |  |
| 5. | Pouring humus for seedlings around in the dug trench. | m3 |  | 20,16 |  |
| 6. | Loading, transportation and unloading of excess soil at a landfill up to 10 km. in a loose state h1,20% | m3 |  | 30,24 |  |
| C) | 3. Concrete works |  |  |  |  |
| 7. | Production of a.b Foundation for metal pillars (0,4x0,4x0,40) kom 45, so MB 30 | m3 |  | 2,88 |  |
| D) | 4. LOCKSMITH WORK for the production of metal construction for GREEN WALL |  |  |  |  |
| 8. | Production and installation of metal pillars with tubes F 2". . . 2mm (60,3mm)complete with necessary welding, painting with a minimum and painting with paint for metal in accordance with the project 45 (l=2,2m) | m1 |  | 99 |  |
| 9. | Production and installation of horizontal metal pipes F1/2". . . 2mm (21,3mm) complete with necessary welding, painting with a minimum and painting in color for metal in all according to the project com 4 (l=89m) | m1 |  | 356 |  |
| 10. | Fabrication and anchor plates 27/27sm...5mm (psc.2) with 4 holes for screws F14mm each, with installation of one for a metal pillar with additional anchor plates for stabilizers 10/18sm...5mm (kom.4), of which for a pillar and the other with anchors-whiskers for concrete with FR10,and 4 anchor screws F 120mm (total of 45 columns), in the advertised project. | psc |  | 45 |  |
| 11. | Procurement and installation of a "green net for plants" made of galvanized wire-plasticized-PVC, with a thickness of 5/10sm, with a height of n=2m and a total length of L=90m,complete with connecting means, etc., in all according to the project. | m2 |  | 180 |  |
|  | 5. Seedlings |  |  |  |  |
| 1. | Procurement and planting of seedlings for GREEN HILL - with a creeper plant "Jasminium" planted at a distance of 60 sm. | psc |  | 140 |  |
| E) | 6.Drip Irrigation SYSTEM: |  |  |  |  |
| 1. | Procurement and installation of special hoses for drip irrigation system made of polyethylene-LDP F 32 mm. | m1 |  | 12 |  |
| 2. | Procurement and installation of special hoses for drip irrigation system made of polyethylene-LDP F 20 mm. | m1 |  | 55 |  |
| 3. | Procurement and installation of garden PVC manholes (ready-made) 40/50/40sm | psc |  | 2 |  |
| 4. | Procurement and installation of a hydrophoric station with a water pump, hydrophoric vessel, press assembly, pressure gauge, valves and connecting elements. | psc |  | 1 |  |
| 5. | Purchase and installation of filter- F2 for the drip system. | psc |  | 1 |  |
| 6. | Supply and installation of water drippers mounted on the butt hoses. | psc |  | 140 |  |
| 7. | Supply and installation of valves- F 32mm i F 20mm | psc |  | 6 |  |
| 8. | Procurement and installation of a set of fashion pieces, etc. for a connection in an existing shaft for technical water-well. | psc |  | 1 |  |
| 9. | Procurement and installation of a set of fashion pieces, etc. for the joint of parts -F 32mm i F 20mm of the pipeline. | psc |  | 1 |  |
| 10. | Necessary earthworks for laying the pipeline, excavation, burial, etc. | m1 |  | 67 |  |
|  | Tota location1(A+B+C+D+E) without vat: |  |  |  |  |
|  | Location2 Parterre horticultural arrangement and installation of urban equipment at the Secondary School "Pero Nakov" Design no. 03-433/23 |  |  |  |  |
|  | DESCRIPTION OF ACTIVITIES | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| A) | GROUND LEVEL - construction part: |  |  |  |  |
|  | 1. PREPARATORY WORKS |  |  |  |  |
| 1. | Clearing the site of low and tall vegetation, rubbish, etc | Lump-sum |  | 1 |  |
| 2. | Marking and levelling the construction site | Lump-sum |  | 1 |  |
|  | 2. Construction of pedestrian paths at ground level: |  |  |  |  |
| 3. | Marking and levelling the construction site | m2 |  | 190 |  |
| 4. | Excavation of soil for paths (103m x 2,2m x 0,35m) | m3 |  | 81,62 |  |
| 5. | Filling and compaction with cushioning material d=20sm, base for concrete slabs (103 x 0,4 x 0,20m) | m3 |  | 38 |  |
| 6. | Filling and compaction with fine sand D=5sm as base for concrete slabs and grouting of concrete slabs. | m3 |  | 12 |  |
| 7. | Loading, transportation, and unloading of excess soil to a landfill up to 10 km. in loose condition h1,20% | m3 |  | 97,94 |  |
| 8. | Purchase and installation of concrete slabs 20/20/5 sm | m2 |  | 190 |  |
| 9. | Purchase and installation of concrete curbs 6/10/100sm set complete with concreting on one side and grouting of joints. | m1 |  | 207 |  |
| B) | 2. Construction of GAZEBO (1pcs.) |  |  |  |  |
| 1. | Marking and leveling the construction site 9m2 psc 1 | m2 |  | 9 |  |
| 2. | Excavation of soil for the foundation slab (9m x 0,2m) with soil disposal to landfill 10 km. | m3 |  | 1,8 |  |
| 3. | Construction of reinforced concrete floor slab D=15 sm with mesh Q188, so MB 30, 9m2 psc.4 | m3 |  | 1,35 |  |
| 4. | Purchase and installation of wooden beams for gazebo construction 10/12sm - smoothed with all connecting elements (basic dimensions 3/3m with height n=2-2,5m), according to the project. Set with protective coating - varnish and sandoline. | m3 |  | 0,85 |  |
| 5. | Purchase and installation of OSB boards for roofing d=1,5sm.Set with protective coating - varnish and sandoline. | m2 |  | 12 |  |
| 6. | Purchase and installation of roofing foil. | m2 |  | 12 |  |
| 7. | Purchase and installation of laths 2,4/4,8cm in two rows longitudinally at 70 cm and transversely at 30 cm. | m2 |  | 12 |  |
| 8. | Purchase and installation of ceramic tiles - classic, together with caps. | m2 |  | 12 |  |
| 9. | Wooden benches and tables set for the gazebo whit tabletop thickness of 5cm.Benches 5x5cm,smoothed,painted with protective varnish and sandoline. | Lump-sum |  | 1 |  |
|  | For one gazebo set 1: |  |  |  |  |
|  | X 4 pcs of gazebo: |  |  |  |  |
| C) | 2. Urban Equipment – BENCHES (psc.1) |  |  |  |  |
| 1. | Purchase and installation of benches made of metal structure, with wooden seats complete with paint, as per the project set. | psc |  | 1 |  |
| 2. | Excavation of soil for bench foundations(0,4h0,6h0,5m)h2 ith soil disposal to landfill od 10 km. | m3 |  | 0,24 |  |
| 3. | Filling and compaction with cushioning material d=10sm, base for bench foundations. (0,4h0,6h0,1m)h2 | m3 |  | 0,048 |  |
| 4. | Construction of concrete bench foundations for 2 beanches (0,4h 0,6h 0,4)h2 with MB 30 | m3 |  | 0,19 |  |
|  | For one bench set 1: |  |  |  |  |
|  | X 12 pcs of benches |  |  |  |  |
| D) | 2. Urban Equipment - WASTE BINS (pcs.1) |  |  |  |  |
| 1. | Purchase and installation of metal structure waste bins, with metal box and wooden lining, as per the project set. | psc |  | 1 |  |
| 2. | Excavation of soil for bin foundations (0,35 x1 x0,5m) with soil disposal to landfill of10 km.(0,18m3x10)=1,8 | m3 |  | 0,18 |  |
| 3. | Filling and compaction with cushioning material d=10sm, base for bin foundations. (0,35 h1m) | m3 |  | 0,04 |  |
| 4. | Construction of concrete bin foundations for 1 bin (0,35 h01 h0,4), so MB 30 | m3 |  | 0,15 |  |
|  | For one waste bins set 1: |  |  |  |  |
|  | X 10 pcs of waste bins |  |  |  |  |
| E) | 5. Landscaping - PLANTS: |  |  |  |  |
|  | Arranging the Alpinium by purchasing and planting seedlings ( 2 pcs of Aplinium): |  |  |  |  |
| 1. | "Berberis thinbergii Mini Maroon" psc.5 x 2 | psc |  | 10 |  |
| 2. | "Jakobinia martima Dusty Miler" psc.10x 2 | psc |  | 20 |  |
| 3. | "Hortenzija" kom.5 x 2 | psc |  | 10 |  |
| 4. | "Chrizantemum Grandchild" psc.30x 2 | psc |  | 60 |  |
| 5. | "Lavanda" psc.8 x 2 | psc |  | 16 |  |
| 6. | "Juniperus horizontalis" psc.5 x 2 | psc |  | 10 |  |
| 7. | "Acer palmatum dissektum artropurpurureum" psc.1 x 2 | psc |  | 2 |  |
|  | Landscaping of a yard facing P. Makedonija Street with the purchase and planting of seedlings: |  |  |  |  |
| 8. | "Phothinia" (planted at a distance of 60 cm) | psc |  | 165 |  |
|  | Landscaping of the northern yard with wooden seedlings: |  |  |  |  |
| 9. | "Aeksulus carnea Brioti (planted at a distance of 5 m) | psc |  | 10 |  |
| F) | 6. Drip Irrigation System: |  |  |  |  |
| 1. | Purchase and installation of special polyethylene-LDP F 32 mm drip irrigation hoses | m1 |  | 174 |  |
| 2. | Purchase and installation of special polyethylene-LDP F 20 mm drip irrigation hoses. | m1 |  | 180 |  |
| 3. | Purchase and installation of garden PVC valves (pre-made) 40/50/40 cm. | psc |  | 2 |  |
| 4. | Purchase and installation of a hydrophore station with a water pump, hydrophore tank, pressure switch, pressure gauge, valves, and connecting | psc |  | 1 |  |
| 5. | Purchase and installation of a 2-inch filter for the drip irrigation system. | psc |  | 1 |  |
| 6. | Purchase and installation of water emitters mounted on hoses for the seedlings. | psc |  | 270 |  |
| 7. | Purchase and installation of 32 mm and 20 mm valves. | psc |  | 10 |  |
| 8. | Purchase and installation of a set of shaped fittings and similar for connection to the existing water tank for technical water-well. | psc |  | 1 |  |
| 9. | Purchase and installation of a set of shaped fittings and similar for the connection of parts of the 32 mm and 20 mm pipeline. | psc |  | 1 |  |
| 10. | Excavation, backfilling, and related ground works for the installation of the pipeline. | m1 |  | 354 |  |
| G) | 6. LIGHTING - LAMPPOSTS: |  |  |  |  |
| 1. | Manufacture and installation of a streetlight with the following equipment: |  |  |  |  |
|  | - 1 pair of comb-like switches 25A, 3-phase |  |  |  |  |
|  | - 1 pair of surge protectors 3P+N |  |  |  |  |
|  | - 1 pair of 25A circuit breakers |  |  |  |  |
|  | - 1 pair of 3-phase automatic circuit breakers C16A, 3-pole |  |  |  |  |
|  | -1 pair of comb-like switches 16A, 3-phase |  |  |  |  |
|  | -1 pair of 1-phase automatic circuit breakers B10A |  |  |  |  |
|  | -1 pair bi-metalic contactor 10A |  |  |  |  |
|  | -1 pair of bi-metallic circuit breakers 10A |  |  |  |  |
|  | -3 pairs of 1-phase automatic circuit breakers B10A | psc |  | 1 |  |
| 2. | Integration into existing switchgear, 32A circuit breaker. | psc |  | 1 |  |
| 3. | Cable for connecting existing RT with RT light, complete with all connections. |  |  |  |  |
|  | -NYМ-Ј 5x6mm2 | m |  | 10 |  |
| 4. | Cable for connecting the fountain pump, complete with all connections. |  |  |  |  |
|  | -PP00 -3x2.5mm2 | m |  | 60 |  |
| 5. | Cable for connecting lampposts, complete with all connections. |  |  |  |  |
|  | -PP00 -4x4mm2 + FeZn 25x4mm | m |  | 120 |  |
| 6. | Purchase and installation of decorative lampposts, height 3.5m, and 30W lamp. | psc |  | 8 |  |
|  | Tota location 2(A+B+C+D+E+F+G) without vat: |  |  |  |  |
|  | Location3 Installation of urban equipment in the space between the pedestrian and bicycle path on the October Revolution boulevard - from the green market to the boulevard, 3rd M.U.B. Design no. 03-430/23 |  |  |  |  |
|  | DESCRIPTION OF ACTIVITIES | Unit | Unit price | Firm quantities | Lump-sum price EUR |
|  | GROUND FLOOR - CHANNELS for atmospheric water from October Revolution boulevard (section L=150 m near the Sports Hall): |  |  |  |  |
| A) | 1. PREPARATORY WORK |  |  |  |  |
| 1. | Cleaning the site from low and high vegetation, rubble and more. | Lumpsum |  | 1 |  |
|  | 2. Construction of ditches (pcs.1) : |  |  |  |  |
| 1. | Marking and staking out the structure | m2 |  | 6 |  |
| 2. | Dismantling the existing curb. pcs 2 by removing debris | psc |  | 2 |  |
| 3. | Procurement of new concrete curbs 6/10/50cm with installation-concreting on one side. | psc |  | 2 |  |
| 4. | Extensive excavation of soil for cannulets (1.65 h 0.7 h 0.25 m) | m3 |  | 0,29 |  |
| 6. | Fill and compacting of cushioning material with of d=20 centimeters, base for trenches (1.65 x 0.7 x 0.15 meters). | m3 |  | 0,18 |  |
| 7. | Construction of a concrete trench 50/70 cm with D=15-5 cm. | psc |  | 1 |  |
| 8. | Procurement of new trenches 40/50 cm with D=5-15 cm - concreting on both sides | psc |  | 4 |  |
| 9. | Loading, transportation, and unloading of excess soil to a landfill up to 10 kilometers in loose condition h1.20%. | m3 |  | 0,35 |  |
| 10. | Procurement and installation of large stones F 30-50 cm placed on the ground. | m3 |  | 0,25 |  |
|  | For one ditch set 1: |  |  |  |  |
|  | X 4 pcs of ditches |  |  |  |  |
| B) | 3. Construction of a drainage infiltration channel 1/1m with a length of 150m. |  |  |  |  |
| 1. | Excavation of soil for a drainage channel (1 x 1 x 150 m), including loading and disposal at a landfill | m3 |  | 150 |  |
| 2. | Excavation of soil for green seedlings-trees (1.5 x 0.3 x 150m), including loading and disposal at a landfill | m3 |  | 67,5 |  |
| 3. | Filling and compaction of separated aggregate fraction - gravel N=1m in layers of 20 cm with variable thickness from 0.5 cm to 8 cm | m3 |  | 150 |  |
| 4. | Procurement and filling of soil-humus for grass seedlings | m3 |  | 67,5 |  |
| 5. | Procurement of fine mud for planting grass with a thickness of 5 cm (height 1.5 x 150 m) | m3 |  | 11,25 |  |
| 6. | Planting grass | m2 |  | 225 |  |
| C) | 2. Urban equipment - BENCHES (psc.1) : |  |  |  |  |
| 1. | Procurement and installation of a metal frame bench with wooden seating, complete with lighting, in accordance with the project. | psc |  | 1 |  |
| 2. | Machine cutting of asphalt with a thickness of 7 cm (0.4+0.6 meters) at a height of h2, with disposal of the waste to the landfill. | m1 |  | 4 |  |
| 3. | Excavation of soil for bench foundations (0.4 x 0.6 x 0.5 m) h2 with disposal of soil at a landfill 10 kilometers away (0,24m3x8)=1,921 | m3 |  | 0,24 |  |
| 4. | Filling and compaction with a 10 cm thick cushioning material, foundation bed (0.4 x 0.6 x 0.1 m) h2 | m3 |  | 0,05 |  |
| 5. | bench, quantity 2 (0.4 x 0.6 x 0.4) h2, with MB 30. | m3 |  | 0,19 |  |
|  | For one bench set 1: |  |  |  |  |
|  | X 8 pcs of benches |  |  |  |  |
| D) | 2. Urban equipment - TRASH CANS (psc 1): |  |  |  |  |
| 1. | Procurement and installation of a TRASH CANS, in accordance with the project | psc |  | 1 |  |
| 2. | Machine cutting of asphalt with a thickness of 7 centimeters (0.35+1 meter) x2 | m1 |  | 2,7 |  |
| 3. | Excavation of soil for basket foundations (0.35 x h1 x 0.5 meters) with removal of soil to a landfill site 10 km away (0,18m3x8)=1,44 | m3 |  | 0,18 |  |
| 4. | Backfilling and compaction of buffer materials d=10sm, foundation subgrade. (0,35 h1m) | m3 |  | 0,04 |  |
| 5. | Construction of a concrete foundation pad for a basket (0.35 x h01 x 0.4), with MB 30. | m3 |  | 0,15 |  |
|  | For one trash can set 1: |  |  |  |  |
|  | X 8 pcs of cans |  |  |  |  |
| E) | 3.Horticultural landscaping - SEEDLINGS – tree ( 1 pcs) |  |  |  |  |
| 1. | Machine cutting of asphalt d=7sm (0,56 x 4) | m1 |  | 2,24 |  |
| 2. | (0.56 x h0.56)h0.07 with disposal of debris at the landfill | m3 |  | 0,03 |  |
| 3. | (0.6 x 0.6) h0.6 with disposal of waste at the landfill | m3 |  | 0,22 |  |
| 4. | Procurement of new concrete curbs 6/10/50 cm with installation - concreting on one side | psc |  | 4 |  |
| 5. | Procurement of soil humus for seedlings | m3 |  | 0,16 |  |
|  | For one seedling set 1: |  |  |  |  |
|  | X220 pcs of seedlings |  |  |  |  |
| F) | 4.Planting seedlings: |  |  |  |  |
|  | "Prunus kanzan" | psc |  | 75 |  |
|  | "Liguidamber" | psc |  | 65 |  |
|  | "Liriodendron tulipifera" | psc |  | 80 |  |
|  | Total location3 (A+B+C+D+E+F) without vat: |  |  |  |  |
|  | Location4 Installation of urban equipment in the space between the pedestrian and bicycle path on Boulevard, the 3rd M.U.B., from JNA to str. Bajram Shabani Design no. 431/23 |  |  |  |  |
|  | Description of Activities | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| A) | 2.Urban equipment - BENCHES (pcs. 1) : |  |  |  |  |
| 1. | Procurement and installation of a bench made of metal construction, with wooden seats, fully painted, in accordance with the project | psc |  | 1 |  |
| 2. | cm (0.4+0.6 meters) h2 h2, with disposal of debris at the landfil | m1 |  | 4 |  |
| 3. | Excavation of soil for bench foundations (0.4 x h0.6 x h0.5 meters) h2 with disposal of soil at a landfill 10 kilometers away(0,24m3x8)=1,92 | m3 |  | 0,24 |  |
| 4. | Filling and compacting of buffer material d=10 cm, base for theme. (0.4 h 0.6 h 0.1 m) h2 | m3 |  | 0,048 |  |
| 5. | Construction of a concrete foundation pad for benches,kom. 2 (0.4 x h0.6 x h0.4) h2, with MB 30. | m3 |  | 0,19 |  |
|  | For one bench set 1: |  |  |  |  |
|  | X 8 pcs of benches |  |  |  |  |
| B) | 3. Urban equipment-TRASH CAN (psc.1) |  |  |  |  |
| 1. | Procurement and installation of a TRASH CANS, in accordance with the project | psc |  | 1 |  |
| 2. | Machine cutting of asphalt with of d=7 cm (0.35+1 m) h2 | m1 |  | 2,7 |  |
| 3. | Excavation of soil for basket foundations (0.35 x h1 x h0.5 meters) with disposal of soil at a landfill 10 kilometers away.(0,18m3x8)=1,44 | m3 |  | 0,18 |  |
| 4. | filling and compaction of buffer material of d=10 cm thickness, base for foundation (0.35 x h1 meters). | m3 |  | 0,04 |  |
| 5. | Construction of a concrete foundation for a basket (0.35 m x 0.1 m x 0.4 m), with MB 30. | m3 |  | 0,15 |  |
|  | For one trash can set 1: |  |  |  |  |
|  | X 8 pcs of cans |  |  |  |  |
| C) | 4. Horticultural landscaping TREES SEEDLINGS– tree (1 pcs) |  |  |  |  |
| 1. | Machine cutting of asphalt with a thickness of 7 cm (0.56 x h4) | m1 |  | 2,24 |  |
| 2. | Excavation of asphalt with a thickness of 7 cm (0.56 x h0.56) h0.07, with disposal of debris at the landfill. | m3 |  | 0,03 |  |
| 3. | (0.6 x h0.6) h0.6, with disposal of debris at the landfill | m3 |  | 0,22 |  |
| 4. | Procurement of new concrete curbs 6/10/50 cm with installation - concreting on one side | psc |  | 4 |  |
| 5. | Procurement of soil humus for seedlings | m3 |  | 0,16 |  |
|  | For one seedling set 1: |  |  |  |  |
|  | X137 pcs of seedlings |  |  |  |  |
| D) | 5.PLANTING SEEDLINGS : |  |  |  |  |
| 1. | "Lagestremia" | psc |  | 75 |  |
| 2. | "Aeksulus x carnea Brioti" | psc |  | 40 |  |
| 3. | "Liriodendron tulipifera" | psc |  | 22 |  |
|  | Tota location4(A+B+C+D) without vat: |  |  |  |  |
|  | Location5 Horticultural arrangement - tree line in the yard of a technical school, Professor Mijalković's School House, Kumanovo Design no. 05-432/23 |  |  |  |  |
|  | DESCRIPTION OF ACTIVITIES | Unit | Unit price | Firm quantities | Lump-sum price EUR |
| А) | 5. Horticultural Landscaping - TREE SEEDLINGS: |  |  |  |  |
| 1. | Excavation of soil for seedlings (0,6 m x 0,6m)x0,6 m with transportation to the landfill | m3 |  | 0,22 |  |
| 2. | Purchase of humus soil for seedlings: | m3 |  | 0,16 |  |
|  | For one seedling set 1: |  |  |  |  |
|  | X16 pcs of seedlings |  |  |  |  |
| B) | Planting of SEEDLINGS: |  |  |  |  |
|  | "Leylandi" | psc |  | 16 |  |
|  | Tota location5(A+B) without vat: |  |  |  |  |