VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated: by the tranches specified in Article 49(1)(a) of the special conditions.

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | Description | Unit | Unit price | Firm quantities | Lump-sum price [EUR] [local currency] |
| --- | --- | --- | --- | --- | --- |
| PEDESTRIAN PATH and adjoining grass space Kej 30ti Avgust Street ,Vinica |  |  |  |  |  |
| 1 | Previous works |  |  |  |  |
| 1,1 | Marking and securing the route by placing safety points | m |  | 1050,00 |  |
| 1,2 | Removing the existing street curbs, loading and disposing to a designated site determined by the Developer Municipality of Vinica | m |  | 1050,00 |  |
|  | Total previous works |  |  |  |  |
| 2 | Substructure |  |  |  |  |
| 2,1 | Mechanical excavation of soil of the 3rd and 4th category in a wide trench with excavation depth up to the projected elevation. The quantities are according to the table for soil masses. | m3 |  | 706,00 |  |
| 2,2 | Loading the excavated soil into a truck and disposing it to a location determined by a competent authority at a distance of up to 10 km | m3 |  | 847,20 |  |
| 2,3 | Construction of an embankment on a previously cleaned terrain of humus and other organic substances. The embankment is performed by applying the material from the excavation in layers of a maximum of 30 cm with compaction to the required degree of compactness. | m3 |  | 9,00 |  |
| 2,4 | Machine compaction of the subsoil to the required substrate compactness | m2 |  | 1.500,00 |  |
| 2,5 | Procurement, transportation, and installation of a humus underlay for greenery, with a layer thickness of 20 cm | m3 |  | 452,00 |  |
| 2,6 | Sowing grass seed and care | m2 |  | 2.260,00 |  |
|  | Total substructure |  |  |  |  |
| 3 | Superstructure |  |  |  |  |
| 3,1 | Mechanical grading and sloping by forming the required longitudinal and transverse slope | м2 |  | 1.500,00 |  |
| 3,2 | Procurement and delivery of buffer material and production of a buffer layer with a thickness of 20 cm. | м3 |  | 320,00 |  |
| 3,3 | Fine levelling of the buffer layer. | м2 |  | 1.500,00 |  |
| 3,4 | Acquiring the necessary materials, transporting them to the designated site, and placing concrete paver blocks (Behaton) that are 8 cm thick on a layer of sand ranging from 3 to 5 cm in thickness. Once the blocks are in place, applying an additional layer of sand to solidify the Behaton. |  |  |  |  |
|  | Red colour concrete paver blocks | м2 |  | 1.486,00 |  |
| 3,5 | Procuring the required materials, transporting them, and setting up curbs designed to safeguard trees by encircling the base with curbs measuring 0.50x0.50 meters. These curbs, with dimensions of 8 cm by 20 cm, will be installed in sets of four per tree. | No. |  | 30,00 |  |
| 3,6 | Procurement, transport and placement of curbs 18/24 on a semi-dry concrete base | m |  | 1.050,00 |  |
| 3,7 | Procurement, transport and placement of curbs 8/20 on a semi-dry concrete | m |  | 750,00 |  |
|  | Total superstructure |  |  |  |  |
|  | SUMMARY-PEDESTRIAN PATH |  |  |  |  |
|  | PREVIOUS WORKS |  |  |  |  |
|  | SUBSTRUCTURE |  |  |  |  |
|  | SUPERSTRUCTURE |  |  |  |  |
|  | TOTAL |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | TOTAL |  |  |  |  |
| Irrigation system |  |  |  |  |  |
| 1,1 | Marking and securing the route by placing safety points | m |  | 1.050,00 |  |
|  | Total previous works |  |  |  |  |
| 2 | Groundworks |  |  |  |  |
| 2.1. | mechanical excavation of a trench for the installation of a water line PE100 of 32 mm with a trench width of 40 cm and a depth of 60 cm | m3 |  | 160,80 |  |
| 2.2. | manual digging by leveling the bottom of the trench | м2 |  | 268,00 |  |
| 2.3. | procurement, transport and placement of fine sand to protect the water line with an overlay of 10 cm above the pipe | m3 |  | 26,80 |  |
| 2.4. | backfilling the trench with soil from excavation to the full height of the trench | м3 |  | 134,00 |  |
| 2.5. | Transporting and removing excess soil by truck up to 10 kilometers | m3 |  | 32,16 |  |
|  | Total groundworks |  |  |  |  |
| 3 | Plumbing and electric installation |  |  |  |  |
| 3.1. | procurement, transportation, and installation of a water line PE100 of 32 mm for the irrigation system. |  |  |  |  |
|  | positioning and connecting pipes using the necessary joint materials | m |  | 1.170,00 |  |
| 3.2. | Procurement, transportation, and installation of a cable for automatic operation of the voltage system 24V 5x2.5mm | m |  | 1.340,00 |  |
| 3.3. | Constructing a connection to an existing water line in compliance with the conditions |  |  |  |  |
|  | stipulated by the public utility company. |  |  |  |  |
|  | This involves excavations across the street, earthworks, and plumbing installations. | No. |  | 4,00 |  |
| 3.4. | Installation of a plug-in controller for street lighting | No. |  | 4,00 |  |
| 3.5. | Procurement, transportation, and installation of irrigation controllers, |  |  |  |  |
|  | which also contain an irrigation calendar, an LCD display for 12 stations |  |  |  |  |
|  | Equipped with a cabinet suitable for outdoor mounting, designed to be |  |  |  |  |
|  | installed on an existing lighting pole. | No. |  | 4,00 |  |
| 3.6. | Procurement, transportation, and installation of polyethylene |  |  |  |  |
|  | manholes designed to accommodate equipment,type Jumbo . | No. |  | 16,00 |  |
| 3.7. | Procurement, transportation, and installation of |  |  |  |  |
|  | automatic valve with an operating voltage of 24 volts | No. |  | 96,00 |  |
| 3.8. | Procurement, transportation, and installation of |  |  |  |  |
|  | micro sprayers positioned above ground as per the planned layout, with |  |  |  |  |
|  | connectors on the main hose | No. |  | 205,00 |  |
| 3.9. | Procurement, transportation, and installation of materials for connecting hollanders. A quantity equal to 10% of the total equipment is selected. |  |  |  |  |
|  | manholes include couplings, hose couplings, elbows, and |  |  |  |  |
|  | union flat joints. A quantity equal to 10% of the total equipment is selected. | lump sum |  |  |  |
| 3.10. | Activating the system to begin operation |  |  |  |  |
|  | Total installation works |  |  |  |  |
| SUMMARY-IRRIGATION |  |  |  |  |  |
|  | Preparatory works |  |  |  |  |
|  | Groundworks |  |  |  |  |
|  | Installation works |  |  |  |  |
|  | Total |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | Total with VAT |  |  |  |  |
| SUMMARY-PEDESTRIAN PATH AND IRRIGATION |  |  |  |  |  |
|  | PEDESTRIAN PATH |  |  |  |  |
|  | Irrigation system |  |  |  |  |
|  | TOTAL WITHOUT VAT 18% |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | Total with VAT |  |  |  |  |
| Еlectric lighting |  |  |  |  |  |
| 1 | Mechanical excavation of a soil trench -III, IV category Backfilling with soil by compaction in layers with a depth of 0.8m, a width of 0.4m for laying the zinc strip | m |  | 575 |  |
| 2 | Procuring and placing a strip of 30x4mm FeZn tape inside the trench connecting the metal pillars. Applies to all | m |  | 610 |  |
| 3 | Hole excavation1x1x1m, anchor rod installation Applying a layer of MB30 concrete onto the foundation.Applies to all | items |  | 33 |  |
| 4 | Procurement and installation of metal pillars 4 m, with an anchor plate 400x400x20mm. Applies to all | items |  | 33 |  |
| 5 | Delivery, installation and connection of a solar LED street lamp BRP710 LED45 NW 60MO PDIM30 BLE SOLAR EX Philips in an aluminium frame, 25W; 4500lm; 4000К; 175lm/w or equivalent with an integrated monocrystalline solar panel monocrystalline pv module with voltage 17Vm; 21 Voc integrated lithium battery LiFePO4, 30Аh, 12.8V, battery charge/discharge cycles min 2000 Intrusion protection rate- IP65, IK08. 4kV surge protection. Operating hours 50000 so the flux will not drop below 70%. operating charging temperature range from 0 to 45°С, operating temperature of the lamp from -20 to +35°С The solar panel, battery and charger should be integrated into the lamp. SE quality certificate or with the same characteristics. Applies to all. | items |  | 33 |  |
|  | Еlectric lighting |  |  |  |  |
|  | TOTAL WITHOUT VAT 18% |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | Total with VAT |  |  |  |  |
| Horticultural landscaping |  |  |  |  |  |
|  | PREPARATORY WORKS |  |  |  |  |
| 1. | Measuring and marking the location of tree seedlings. | items |  | 39,00 |  |
|  | Manual excavation of tree seedlings trench, dimensions 60/60/50, | items |  | 39,00 |  |
|  | LANDSCAPING |  |  |  |  |
| 2 | Procurement and planting seedlings. The planting process involves prepared holes measuring 0.60x0.60x0.60m, each filled with 15kg of naturally fermented stable manure. The seedlings need to include sod or roots and soil, and their arrangement follows the design of the parterre solution, considering species and location. *Tall greenery: |  |  |  |  |
|  | -- Coniferous trees with height Н=150см - silver spruce | items |  | 14,00 |  |
|  | Deciduous trees with height Н=150см - Deciduous tree, of which 16 pcs. linden and 9 pcs. Sycamore (total 25) | items |  | 25,00 |  |
|  | Horticultural landscaping |  |  |  |  |
|  | TOTAL WITHOUT VAT 18% |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | Total with VAT |  |  |  |  |
| Urban equipment |  |  |  |  |  |
|  | PREPARATORY WORKS |  |  |  |  |
| 1. | Measuring and marking the location of planned benches(37) and litter bins(24). | items |  | 61,00 |  |
| 2. | Manual excavation of foundations for installation of (26) benches with dimensions 35/35/50 | items |  | 26,00 |  |
| 3. | Manual excavation of foundations for installation of litter bins, dimensions 30/30/50. | items |  | 24,00 |  |
|  | CONCRETE WORKS |  |  |  |  |
| 4. | Procurement, transportation and concreting foundations for installation of litter bins, dimensions 30/30/50, with MB20. | m3 |  | 3,10 |  |
|  | URBAN EQUIPMENT |  |  |  |  |
| 1 | Procurement, transportation and installation of: |  |  |  |  |
|  | Benches with backrest (26) | items |  | 26,00 |  |
|  | Benches placed on the wall, without backrest (11) | items |  | 11,00 |  |
|  | Litter bins | items |  | 24,00 |  |
|  | Urban equipment |  |  |  |  |
|  | TOTAL WITHOUT VAT 18% |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | Total with VAT |  |  |  |  |
| I | Total pedestrian path and Irrigation system |  |  |  |  |
| II | Total Еlectric lighting |  |  |  |  |
| III | Total Horticultural landscaping |  |  |  |  |
| IV | Total Urban equipment |  |  |  |  |
|  | Total lump-sum price |  |  |  |  |
|  | VAT 18% |  |  |  |  |
|  | TOTAL |  |  |  |  |